## Slide 1
BASIC ELECTRONICS
(24B11EC111)
Unit-1
Lecture-3
(Voltage Divider Rule)

## Slide 2: CONTENTS
Voltage Divider Rule
Voltage Divider Calculation for two series resistors
Voltage Divider Rule Using more than two Resistor
Practice Problem
Parallel resistors
Current division rule
Numerical
Practice Problems
References

## Slide 3: Voltage Divider Rule
Definition
A voltage divider is a basic circuit, used to generate a part of its input voltage like an output. This circuit can be designed with two resistors otherwise any passive components along with a voltage source.
The resistors in the circuit can be connected in series whereas a voltage source is connected across these resistors. This circuit is also called a potential divider.
The input voltage can be transmitted between the two resistors in the circuit so that the division of voltage takes place.

## Slide 4: Voltage Divider Calculation for two series resistor
i1
Figure1

## Slide 5: Contd..

## Slide 6: Voltage Divider Rule Using more than two Resistor
Figure 2

## Slide 7: Contd..

## Slide 8: Example-1
Find the voltages across each resisters.

## Slide 9: Practice Problem
Figure 3

## Slide 10: Example 2
Figure 4

## Slide 11: Contd..
Then
So, the circuit is simplified to the level shown in figure
And the voltage division rule can be applied directly:

## Slide 12: Contd..

## Slide 13
Parallel resistors and Current division rule
The circuit with two resistors and a current source shown in Figure.
Note that both resistors are connected to terminals a and b and that the voltage v appears across each parallel element.

## Slide 14
Parallel resistors and Current division rule
KCL at node a
From Ohm’s law

## Slide 15
Conductance G can be defined as the inverse of resistance R.
Parallel resistors and Current division rule
Equivalent circuit for this parallel circuit is a conductance Gp, as shown in Figure ,
where
The equivalent resistance for the two-resistor circuit is found from

## Slide 16
Because Gp = 1/Rp, we have
The circuit shown in Figure is called a current divider circuit because it divides the source current.
Parallel resistors and Current division rule

## Slide 17
Note that
we solve for v, obtaining
Substituting v, we obtain
Parallel resistors and Current division rule

## Slide 18
Note that we may use G2 = 1/R2 and G1 = 1/R1 to obtain the current i1 and i2 in terms of two resistances as follows:
The current of the source divides between conductances G1 and G2 in proportion to their conductance values.
Parallel resistors and Current division rule

## Slide 19
In Fig. 1, suppose one of the resistors is zero, say or short circuit as shown in Fig. 3(a).
From equation (10), implies that , . This means that the current i bypasses and flows through the short circuit , the path of least resistance.
Thus, when a circuit is short circuited, the equivalent resistance,
and the entire current flows through the short circuit.
A shorted circuit

## Slide 20
Also, as an another extreme case, suppose or is an open circuit.
The current still flows through the path of least resistance, . By taking the limit of equation (7) as , we obtain in this case.
an open circuit

## Slide 21
Let us consider the more general case of current division with a set of N parallel conductors as shown in Figure.
The KCL gives
for which
We may write Eq. 1 as
---------- Eq. 1
Therefore,
FIGURE Set of N parallel conductances with a current source is
Parallel resistors and Current division rule

## Slide 22
FIGURE Set of N parallel conductances with a current source is
Because
we may obtain v from
Equivalent conductance Gp
Therefore,
which is the basic equation for the current divider with N conductances.
Parallel resistors and Current division rule

## Slide 23
Problems
Problem-1
Find i0 and v0 in the circuit shown in Fig. Also, calculate the power dissipated in the 3 Ω resistor.

## Slide 24
Solution:

## Slide 27
Problem-2
For the circuit shown in Fig., determine the (a) the voltage, v0 (b) the power supplied by the current source (c) the power absorbed by each resistor.

## Slide 28
Solution:
(a)
We now apply the current division technique to find i1 and i2
6 kΩ and 12 kΩ resistors are in series,
So 60 + 12 = 18 kΩ

## Slide 31
Problems
Find v1 and v2 in the circuit shown in Fig. Also, calculate i1 and i2 and the power dissipated in the 12 Ω and 40 Ω resistors.

## Slide 32
Practice Problems
For the circuit in Figure , find (a) the current in each branch, (b) the equivalent circuit, and (c) the voltage v.
The resistors are R1 = 1/2 Ω; R2 = 1/4 Ω; R3 = 1/8 Ω
Ans: Current i1 = 4 A, i2 = 8 A, i3 = 16 A

## Slide 33
References
R.C. Dorf and James A. Svoboda, “Introduction to Electric Circuits”, 9th ed, John Wiley & Sons, 2013.
D.C. Kulshreshtha, Basic Electrical Engineering, Revised 1st ed, Tata Mc Graw Hill, 2017.
V. K.Mehta, Rohit Mehta, Basic Electrical Engineering, 6th ed, S. Chand Publishing, 2012.